## Slide 2: System types

## Slide 3: System types
Off-grid No grid available. Use battery as a buffer, buffering solar energy and/or energy coming from a genset.
Bad-grid -> Intentional Islanding Very unreliable and unstable grid. Use a battery and PV, run in inverter mode when possible and only fall back to the grid when necessary. (ignore AC)
Unreliable grid / Marine / Automotive: backup Grid frequently fails: a battery is used to power loads when mains is not available.
Energy storage Use a battery to store excess solar power (day), to later use it when there is not enough solar power available to power the loads (evening and night). Grid is stable, and 99.99% available

## Slide 4: ESS Assistant - Perfect for Energy Storage Systems

## Slide 5: Base

## Slide 6: Standard AC-coupled PV

## Slide 7: Add the Energy Storage & Meter

## Slide 8: Add critical loads

## Slide 9: AC-Coupled PV on output

## Slide 10: DC-Coupled PV

## Slide 11: AC Coupled PV on input

## Slide 12: All (or a combination) is also possible

## Slide 13: New! ESS Assistant without meter

## Slide 14: Pure Energy Storage - no PV

## Slide 15: BatteryLife
“There is no point in discharging a battery today / tonight, when you already know that it will not be recharged tomorrow.”
Longer battery life for lead & passive balanced Lithium
Be prepared for a mains outage
Mandatory for Victron 12.8V lithium batteries, because they have passive balancing no BatteryLife -> no warranty!

## Slide 16: Perfect Energy Storage System
Easy configuration in the CCGX
Compatible with many battery brands
DC-Coupled and/or AC-Coupled PV
Enable/disable feed-in
Zero feed-in for Fronius PV Inv.

## Slide 17: ESS Details

## Slide 18: What about the Hubs?
Hub-1: deprecated except for policy 3: Invert priority
Hub-2: deprecated except for policy 2: Invert priority
Hub-4: deprecated entirely
What does deprecated mean? It means no support. In case of problems, first update to ESS, and then contact us again in case of trouble.

## Slide 19: No feed-in systems
Use an MPPT, do not use a PV Inverter
Still want to use a PV Inverter? Then at least take a Fronius. (and use Zero Feed-in)
Remember: to prevent feed-in for a PV Inverter, you need to sabotage it. Leads to flickering, overloads, and more problems.

## Slide 20: ESS Menu